**Duct piece for servomotor MSR 150**

Duct piece for installing MS… and MS… S servomotors.

With holes for mounting the servomotor and as cable duct.

With inspection aperture, sealed with rubber plug.

With fold stepped outwards to produce a smooth surface on the inside.

Technical data

|  |  |
| --- | --- |
| Article: | MSR 150 |
| Material: | galvanised sheet steel |
| Weight: | 1,1 kg |
| Weight including packaging: | 1,125 kg |
| Nominal size: | 150 mm |
| Length: | 400 mm |
| Width: | 150 mm |
| Height: | 150 mm |
| Depth: | 400 mm |
| Width with packaging: | 153 mm |
| Height with packaging: | 153 mm |
| Depth with packaging: | 400 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799925125 |
| Article number: | 0092.0512 |

Manufacturer: MAICO

MSR 150 Duct piece for servomotor