**Motor protection switch MVEx 1,0**

Motor safety switch to monitor the maximum motor current.

Necessary accessories for EZQ/EZS 20/4 E Ex e and ERM ... Ex e.

Type-examination tested according to Directive 2014/34/EU.

Safety instructions

Installation exclusively in non-explosive areas.

Technical data

|  |  |
| --- | --- |
| Article: | MVEx 1,0 |
| Type of voltage: | Alternating current |
| Rated voltage: | 230 V |
| Frequency: | 50 Hz/60 Hz |
| Maximum load: | 1 A |
| Degree of protection: | IP 20 |
| Rated constant current: | 1 A |
| Rated voltage setting range: | -0,37 A |
| Tripping current to trigger a short-circuit: | 14 A |
| Type of installation: | Control cabinet |
| Housing material: | Synthetic material |
| Colour: | Light grey |
| Weight: | 0,27 kg |
| Weight including packaging: | 0,3 kg |
| Width: | 45 mm |
| Height: | 93 mm |
| Depth: | 76 mm |
| Width with packaging: | 50 mm |
| Height with packaging: | 100 mm |
| Depth with packaging: | 80 mm |
| Certified as explosion proof: | PTB 10 ATEX 3013 |
| Packing unit: | 1 piece |
| Range: | D |
| GTIN (EAN): | 4012799575481 |
| Article number: | 0157.0548 |

Manufacturer: MAICO

MVEx 1,0 Motor protection switch