**Flexible cuff STKI 28**

Flexible cuff made of PVC for sound- and vibration-damped installation.

With two tensioning straps.

Technical data

|  |  |
| --- | --- |
| Article: | STKI 28 |
| Material: | Synthetic material |
| Colour: | grey |
| Weight: | 1 kg |
| Weight including packaging: | 1 kg |
| Width: | 225 mm |
| Height: | 225 mm |
| Depth: | 160 mm |
| Width with packaging: | 225 mm |
| Height with packaging: | 225 mm |
| Depth with packaging: | 160 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799734901 |
| Article number: | 0073.0490 |

Manufacturer: MAICO

STKI 28 Flexible cuff