**Duct shutter VKRI R 71**

Airstream-operated duct shutter with round connection plate.

Technical data

|  |  |
| --- | --- |
| Article: | VKRI R 71 |
| Material: | Steel |
| Colour: | grey |
| Weight: | 22 kg |
| Weight including packaging: | 22 kg |
| Width: | 812 mm |
| Height: | 430 mm |
| Depth: | 812 mm |
| Width with packaging: | 812 mm |
| Height with packaging: | 430 mm |
| Depth with packaging: | 812 mm |
| Packing unit: | 1 piece |
| Range: | C |
| GTIN (EAN): | 4012799730897 |
| Article number: | 0073.0089 |

Manufacturer: MAICO

VKRI R 71 Duct shutter