**Summer cassette SK 300 Plus**

Summer cassette for WRG 300 EC / WRG 400 EC ventilation units.

For the supply of fresh outside air without using the heat exchange process during summer operation.

Technical data

|  |  |
| --- | --- |
| Article: | SK 300 Plus |
| Material: | Aluminium |
| Weight: | 1,6 kg |
| Weight including packaging: | 2,17 kg |
| Width: | 500 mm |
| Height: | 275 mm |
| Depth: | 420 mm |
| Width with packaging: | 530 mm |
| Height with packaging: | 445 mm |
| Depth with packaging: | 300 mm |
| Packing unit: | 1 piece |
| Suitable for products: | WRG 300 EC, WRG 400 EC |
| Range: | K |
| GTIN (EAN): | 4012799809241 |
| Article number: | 0180.0924 |

Manufacturer: MAICO

SK 300 Plus Summer cassette