**Air filter, replacement FF 10**

FF 10: Replacement air filter for ERA 11 surface-mounted fan.

Technical data

|  |  |
| --- | --- |
| Article: | FF 10 |
| Installation position: | vertical / horizontal |
| Weight: | 0,01 kg |
| Weight including packaging: | 0,2 kg |
| Filter class: | ISO Coarse 30 % (G2) |
| Width: | 260 mm |
| Height: | 163 mm |
| Depth: | 10 mm |
| Width with packaging: | 305 mm |
| Height with packaging: | 180 mm |
| Depth with packaging: | 60 mm |
| Ambient temperature: | 40 °C |
| Packing unit: | 5 pieces |
| Range: | B |
| GTIN (EAN): | 4012799933779 |
| Article number: | 0093.0377 |

Manufacturer: MAICO

FF 10 Air filter, replacement