**Air filter, replacement PPF G3**

Replacement air filter for PushPull 60 K single-room ventilation unit

Technical data

|  |  |
| --- | --- |
| Article: | PPF G3 |
| Material: | Synthetic material |
| Colour: | white |
| Weight: | 0,06 kg |
| Weight including packaging: | 0,06 kg |
| Filter class: | ISO Coarse 45 % (G3) |
| Width: | 190 mm |
| Height: | 170 mm |
| Depth: | 12 mm |
| Width with packaging: | 250 mm |
| Height with packaging: | 200 mm |
| Depth with packaging: | 26 mm |
| Packing unit: | 2 pieces |
| Range: | K |
| GTIN (EAN): | 4012799931690 |
| Article number: | 0093.0169 |

Manufacturer: MAICO

PPF G3 Air filter, replacement