**Air filter, replacement WSG 150**

Replacement air filter for WS 150 centralised ventilation unit.

Technical data

|  |  |
| --- | --- |
| Article: | WSG 150 |
| Installation position: | vertical / horizontal |
| Weight: | 0,04 kg |
| Weight including packaging: | 0,06 kg |
| Filter class: | ISO Coarse 70 % (G4) |
| Width: | 350 mm |
| Height: | 250 mm |
| Depth: | 22 mm |
| Width with packaging: | 351 mm |
| Height with packaging: | 251 mm |
| Depth with packaging: | 45 mm |
| Packing unit: | 2 pieces |
| Suitable for products: | WS 150 |
| Range: | K |
| GTIN (EAN): | 4012799938927 |
| Article number: | 0093.0892 |

Manufacturer: MAICO

WSG 150 Air filter, replacement